CITY OF

TEXARKANA, AR

Erosion and Sediment

Controls at Construction Sites

Erosion Controls

Vegetated Buffer Areas

Channel Check Structures

Diversion Berms

Conveyance Channels

Slope Drains

Straw and Mulches

Erosion Control Blankets

Storm Wattles

Sediment Controls

Silt Fencing

Sediment Basin

Sediment Berm

Geosynthetic Dike

Rock Barriers/dams

Inlet Filters

Sand Bags

“Controlling erosion

will stabilize your site

and will require less

sediment controls at

the construction site

outfalls”

City of Texarkana, AR

Stormwater/

Engineering Division

PO Box 2711

Texarkana

Arkansas 71854

(870) 779-4971

The most environmentally dangerous period of development is the initial construction phase when land is cleared of vegetation and graded to create a proper surface for construction. The removal of natural vegetation and topsoil makes the exposed area particularly susceptible to erosion, causing transformation of existing drainage areas and disturbance of sensitive areas. Federal, state, and local authorities requires any construction activity disturbing 1 acre or more must minimize sediment leaving the construction area by controlling erosion on the site. You must stabilize any area that has been exposed and inactive for over 14 days including dirt stock piles. The City of Texarkana Code Enforcement Division is responsible to ensure that all construction sites within the city limits will meet all mandated federal, state, and local requirements.

For more information regarding the City of Texarkana Stormwater Management Program please contact the Stormwater Coordinator at (870) 779-4971 or email

nina.walker@txkusa.org

Choose the right Silt fencing for the construction site!

Choose the right stone size for the entrance! 2” rock is a good start

Channel Check Structures

Geosynthetic Matting and Rolled Fiber Roll

Stabilize your site by using Erosion Control Blankets, Mulch, and Straw!

Wire Enforced Silt Fencing

Snake and Bury Hay Bales